## Slide 1: Example of B-MIS Drift Correction in WADI ionpneg PASS1A from UM
Alec Steep

## Slide 2: Major Steps in Data Analysis
Raw PASS1A
Raw PASS1C
PASS1A/PASS1C Combined
Batch Correction
Biological Investigations
Structure Data
Document Data
Data Preprocessing (part 1)
Data Preprocessing (part 2)
Structure Data
Document Data
Data Preprocessing (part 1)
Data Preprocessing (part 2)
Combine Data

## Slide 3: Complete/Incomplete Tasks
Raw PASS1A
Raw PASS1C
PASS1A/PASS1C Combined
Batch Correction
Biological Investigations
Structure Data
Document Data
Data Preprocessing (part 1)
Data Preprocessing (part 2)
Structure Data
Document Data
Data Preprocessing (part 1)
Data Preprocessing (part 2)
Combine Data
Standardization of manifest files
Standardization of feature/sample nomenclature
Creation of NxP matrices

## Slide 4
Raw PASS1A
Raw PASS1C
PASS1A/PASS1C Combined
Batch Correction
Biological Investigations
Structure Data
Document Data
Data Preprocessing (part 1)
Data Preprocessing (part 2)
Structure Data
Document Data
Data Preprocessing (part 1)
Data Preprocessing (part 2)
Combine Data
Drift correction
Complete/Partially Complete Tasks

## Slide 5
Raw PASS1A
Raw PASS1C
PASS1A/PASS1C Combined
Batch Correction
Biological Investigations
Structure Data
Document Data
Data Preprocessing (part 1)
Data Preprocessing (part 2)
Structure Data
Document Data
Data Preprocessing (part 1)
Data Preprocessing (part 2)
Combine Data
Drift correction
Update: Drift Correction (Completed)

## Slide 6: Data Preprocessing (Part 2)
Raw PASS1A
Raw PASS1C
PASS1A/PASS1C Combined
Batch Correction
Biological Investigations
Structure Data
Document Data
Data Preprocessing (part 1)
Data Preprocessing (part 2)
Structure Data
Document Data
Data Preprocessing (part 1)
Data Preprocessing (part 2)
Combine Data
Impute zero/neg/missing values
Flag/remove sample outliers
Flag/remove feature outliers
Transform data
  Log, feature-std, sample-std

## Slide 7
(SERRF)
(B-MIS)
Notes: Met with the metabolomics core

## Slide 8: PASS1A Raw Data (example: WADI ionpneg Michigan)
Raw Data refers to the area of peak measurement from application of metabolomics technology (e.g. ionpneg)
DOI: 10.1021/acs.analchem.7b04400 Anal. Chem. 2018, 90, 1363−1369

## Slide 9: PASS1A Pre/Post-IS Data (example: WADI ionpneg Michigan)
DOI: 10.1021/acs.analchem.7b04400 Anal. Chem. 2018, 90, 1363−1369
3 Comparable Datasets in WADI-pass1a
pre-IS (2.0)
post-IS (1.0)
post-IS (2.0)

## Slide 10: PASS1A Pre/Post-IS Data (example: WADI ionpneg Michigan)
DOI: 10.1021/acs.analchem.7b04400 Anal. Chem. 2018, 90, 1363−1369
3 Comparable Datasets in WADI-pass1a
pre-IS (2.0)
post-IS (1.0)
post-IS (2.0) – B-MIS

## Slide 11: NxN Cross Rank Correlation Matrices (example: WADI ionpneg Michigan)
3 Comparable Datasets in WADI-pass1a
Experimental Samples
IS-removed
61 shared samples (P)
61 shared features (N)
Post-IS (1.0)
Pre-IS (1.0)
Post-IS (2.0)
Dim = 61 (N) x 61 (P)

## Slide 12: NxN Cross Rank Correlation Matrices (example: WADI ionpneg Michigan)
3 Comparable Datasets in WADI-pass1a
Experimental Samples
IS-removed
61 shared samples (P)
61 shared features (N)
Post-IS (1.0)
Pre-IS (2.0)
Post-IS (2.0)
ATTN: PASS1A does not demonstrate considerable technical drift effects, rather PASS1C demonstrates strong effects from drift (compared to biology of interest). PASS1A is used here because of the comparable pre/post-IS datasets.
Dim = 61 (N) x 61 (P)

## Slide 13: NxN Cross Rank Correlation Matrices (example: WADI ionpneg Michigan)
3 Comparable Datasets in WADI-pass1a
Experimental Samples
IS-removed
61 shared samples (P)
61 shared features (N)
Post-IS (1.0)
Pre-IS (1.0)
Post-IS (2.0)
Dim = 61 (N) x 61 (P)

## Slide 14: NxN Cross Rank Correlation Matrices (example: WADI ionpneg Michigan)
Post-IS (1.0)
Pre-IS (1.0)
Post-IS (2.0)
Dim = 62 (N) x 74 (P)
Dim = 61 (N) x 61 (P)

## Slide 15: NxN Cross Rank Correlation Matrices (example: WADI ionpneg Michigan)
4 Comparable Datasets in WADI-pass1a
Experimental Samples
IS-removed
61 shared samples (P)
61 shared features (N)
Provided by UM metabolomics core (possibly) to be sent to BIC
Post-IS (1.0)
Pre-IS (1.0)
Post-IS (2.0)
Post-B-MIS (2.0)
Dim = 61 (N) x 61 (P)

## Slide 17
Sample Cohorts
  Experimental Samples
  Pooled Samples (used for drift correction)
Internal Standards (IS) Only
Each IS B-MIS adjusted by another IS in 2 sample cohorts
D3-alanine
D3-alanine area_adj adjusted by D3-alanine
Examination of B-MIS with Only Internal Standards

## Slide 18: Examination of B-MIS with Only Internal Standards
Sample Cohorts
  Experimental Samples
  Pooled Samples (used for drift correction)
B-MIS Transformation:
  Area_adj = Divide by IS peak area (per sample) and multiplying by average IS peak area (across samples)
    Area_adj for pooled samples
    Area_adj for all samples
RSD: Relative Standard Deviation
  RSD = sd(Area_adj)/mean(Area_adj)
    RSD for pooled samples
    RSD for all samples
Internal Standards (IS) Only
Each IS B-MIS adjusted by another IS in 2 sample cohorts
D3-alanine

## Slide 20: Examination of B-MIS with Only Internal Standards
Sample Cohorts
  Experimental Samples
  Pooled Samples (used for drift correction)
B-MIS Transformation:
  Area_adj = Divide by IS peak area (per sample) and multiplying by average IS peak area (across samples)
    Area_adj for pooled samples
    Area_adj for all samples
RSD: Relative Standard Deviation
  RSD = sd(Area_adj)/mean(Area_adj)
    RSD for pooled samples
    RSD for all samples
Internal Standards (IS) Only
Each IS B-MIS adjusted by another IS in 2 sample cohorts
D3-alanine
D3-alanine area unadjusted & RSD calculated
D3-alanine area_adj adjusted by D3-alanine
D3-alanine area_adj adjusted by best IS candidate

## Slide 21: Diagnostic Plot (Pre/Post B-MIS)

## Slide 22: Some Features Should not Undergo B-MIS

## Slide 23: B-MIS in WADI ionpneg Michigan Generation of Post-B-MIS (2.0)
Post-IS (1.0)
Pre-IS (1.0)
Post-IS (2.0)
Post-B-MIS (2.0)
Dim = 61 (N) x 61 (P)

## Slide 24
Samples:
  QC-DriftCorrection: a collection of all experimental samples from PASS1A (used for drift correction)
  QC-InternalStandard: plasma samples from another study (CHEAR)
  QC-Reference: a collection of all exercise samples or all sedentary samples
  Sample: experimental samples
  QC-Pooled: a collection of all experimental samples from PASS1A or PASS1C
  QC-Blank: Blank or only IS-metabolites added
Features:
  Metabolite
  IS-Metabolite: same amount, manually added to each samples, labeled as [iSTD]
RSD in Drift Samples
by
RSD in Pooled Samples
Examination of B-MIS with Only Internal Standards (WADI-1A)
area unadjusted & RSD calculated

## Slide 25
Acceptable IS for B-MIS if reduction in RSD in drift samples exceeds 40%
Examination of B-MIS with Only Internal Standards (WADI-1A)

## Slide 26: Pre-Post Drift Correction in QC-DriftCorrection Samples

## Slide 27: Identical IS metabolite will always be best B-MIS choice for paired metabolite
area unadjusted & RSD calculated
B-MIS from isoleucine-13C6 [iSTD]

## Slide 28: Some Features Should not Undergo B-MIS

## Slide 29
Acceptable IS for B-MIS if reduction in RSD in drift samples exceeds 10%
Examination of B-MIS with all Metabolites (WADI-1A)

## Slide 30: Some Features Should not Undergo B-MIS

## Slide 31
Acceptable IS for B-MIS if reduction in RSD in drift samples exceeds 10%
Features Not Present in Drift Samples

## Slide 32: Some Features Should not Undergo B-MIS

## Slide 33: Some Features Should not Undergo B-MIS

## Slide 34: **Acceptable decrease in RSD

## Slide 35
Acceptable IS for B-MIS if reduction in RSD in drift samples exceeds 10%
Sufficient Reduction in Drift Samples (RSD)

## Slide 37
Acceptable IS for B-MIS if reduction in RSD in drift samples exceeds 10%
Features Not Present in Drift Samples

## Slide 38: B-MIS in WADI ionpneg Michigan Generation of Post-B-MIS (2.0)
Post-IS (1.0)
Pre-IS (1.0)
Post-IS (2.0)
Post-B-MIS (2.0)
Dim = 61 (N) x 61 (P)